## Slide 1: From raw data to phenotype

## Slide 2: Methane Sniffer
Pros:
Relatively cheap –cost effective
Not invasive
Many records
5/25/202628/08/2023

## Slide 3: Methane Sniffer
Pros:
Relatively cheap –cost effective
Not invasive
Many records
Cons:
Concentration not volume
Only AMS
Snapshots
Messy data
Affected by environment
5/25/202628/08/2023

## Slide 4: Large amounts of Messy data
~ 86,000 methane records/day/sniffer

## Slide 5
Large amounts of Messy data
Automatized pipeline to clean data
~ 86,000 methane records/day/sniffer

## Slide 6: Large amounts of Messy data
Automatized pipeline to clean data
High-quality dataset with gas concentrations
that can be converted to methane phenotypes
~ 86,000 methane records/day/sniffer

## Slide 7: Need good technicians!
Setting up/moving equipment
Daily monitoring of data download
Checking up on equipment at irregularities
Fixing problems
Downloading AMS data
Managing database
Ordering parts

## Slide 8: Manual Data monitoring
-Connection
- Number of exits from robot
- Max and mean gas values
- Standard deviations
-Reference measures

## Slide 9: Equipment ”Errors”, examples
Notes: The manual data monotoring finds the worst examples

## Slide 10: Current data preparation
2- step procedure:
  Time alignment & quality control
  Phenotype creation

## Slide 11: Automatized pipeline
Notes: Two data streams

## Slide 12: Automatized pipeline

## Slide 13: Automatized pipeline

## Slide 14: Automatized pipeline

## Slide 15: Time synchronization & Quality control

## Slide 16: Time synchronization and quality control
Notes: Finding best time match by sliding the CO2 concentration over the milking data –use CO2 for the alignment
Originally developed for time synchronization, because back in time the sniffer boxes did not synchronize to internet time.
This works now, but is still used for quality control, if cant be matched, data is discarded
Currently running one sniffer-Ams at a time but is currently being improves, since we have 38 sniffers with duplex setup,
If we cant find a clear pattern

## Slide 17: Splitting records in cow and baseline
Notes: After synchronization split in animal and baseline records

## Slide 18: animal and baseline gas concentrations
Mikling periods: cow data
Non-milking periods: baseline data
baseline cow baseline cow baseline

## Slide 19: Baseline Gas concentrations
Baseline concentration modelling:
-AMS
-Date
-Time of day
-Duration of idle period
Notes: Drift in calibration
Time of day
Also day to day variations depending on for instance weather

## Slide 20: Individual animal records
Notes: Now switch to animal records

## Slide 21: Records corrected for baseline
Gas concentrations are reduced after baseline correction
Notes: This is a simple example how a cow’s methane is reduced after baseline correction

## Slide 22: Filter for ”head lifting”
Only keep gas records where both methane and carbon dioxide are clearly higher than the normal background level
Indicate:
cow’s head is properly near the sensor/feed bin
measurements are reliable

## Slide 23: Visit phenotype preparation

## Slide 24: Pruning of early and late records
CH4 and CO2 from ~8000 milkings
Gas concentrations and std
second
CH4
CO2
gas

## Slide 25: Pruning of early and late records
CH4 and CO2 from ~8000 milkings
Gas concentrations and std
Entrance
second
gas

## Slide 26: Pruning of early and late records
CH4 and CO2 from ~8000 milkings
Gas concentrations and std
Entrance
More head lifting later on
second
gas

## Slide 27: Pruning of early and late records
CH4 and CO2 from ~8000 milkings
Gas concentrations and std
Entrance
More head lifting later on
Best interval for visit phenotype
30-300 sec
second
gas

## Slide 28: Upload to database for genetic evaluation
Notes: Visits are uploaded to database, where they are transformed to daily records within AMS and sniffer.
And use pedigree and genomic information from NAV
And data from the Danish cattle database

## Slide 29: Future
1-step procedure including:
Automatic data transfer
Data monitoring with warning system
Time alignment and data quality control
Baseline estimation
Phenotype preparation
© VikingDenmark